## V-Memory Calcs
V-memory Address Calculations
AutomationDirect PLCs use Octal (base 8) addressing. Our registers are called V-memory and use Vxxxx as the format in our programming software. However, do not use the V in front of the addresses when using this spreadsheet. Headings for each type of calculation are in RED. Instructions are in LIGHT BLUE. The fields where you can enter addresses or numbers is in YELLOW. The answers are in GREEN. |  | AN-MISC-025
2004-08-02
NOTE: YOU MUST HAVE TOOLS/ADD-INS…/ANALYSIS TOOLPAK CHECK IN EXCEL TO USE THIS SPREADSHEET.
FIND THE ENDING OF A V-MEMORY SERIES |  | FIND THE COUNT BETWEEN TWO V-MEMORY ADDRESSES
The following calculation lets you enter the beginning V-memory address (octal) and then the number of registers (as a decimal number) that you want to use. The result is the ending V-memory address (octal). |  | The following calculation lets you enter the beginning V-memory address (octal) and the ending V-memory address (octal). The result is the total number of V-memory locations (as a decimal number).
ENTER BEGINNING OCTAL ADDRESS: | 2000 | ENTER BEGINNING OCTAL ADDRESS: |  |  |  |  | 2000
ENTER NUMBER OF REGISTERS IN DECIMAL: | 8 | ENTER ENDING OCTAL ADDRESS: |  |  |  |  | 2007
CALCULATE ENDING OCTAL ADDRESS: | 2007 | CALCULATE NUMBER OF PLACES IN DECIMAL: |  |  |  |  | 8
FIND THE BEGINNING OF A V-MEMORY SERIES |  | DEC/HEX/OCT CONVERTER
The following calculation lets you enter the ending V-memory address (octal) and then the number of registers (as a decimal number) that you want to use. The result is the beginning V-memory address (octal). |  | To convert a number from one base to another (Decimal, Hex, Octal), enter the number you wish converted into the correct field (yellow) and the conversions will appear to the right. (green). The maximum values for this calculator are limited by Excel. The best method is to use the default Window's Calculator and set it to SCIENTIFIC format. It will do DECIMAL, HEXADECIMAL, OCTAL and BINARY to a higher resolution than this spreadsheet.
ENTER ENDING OCTAL ADDRESS: | 2007
ENTER NUMBER OF REGISTERS IN DECIMAL: | 8
CALCULATE BEGINNING OCTAL ADDRESS: | 2000 | DECIMAL: | 65535 | HEX= | FFFF | OCTAL= | 177777
|  | HEX: | FFFF | OCTAL= | 177777 | DECIMAL= | 65535
|  | OCTAL: | 177777 | DECIMAL= | 65535 | HEX= | FFFF